## BOM
FORBES MARSHALL |  | Costing Date : 23.07.2025
Customer | M/S Technodry System Engineering | REV : 0
Project | -
Quote Ref : | C5N-OEM-2K25-VS-June-255
PO No: | 25261389 - R0
PO Date: | 2025-07-08
DA: | Not Applicable
OFFER FOR VIBRATION MONITORING SYSTEM
FMPL India scope of supply
Sr. No. | Description | Machine:Pump | Qty | UP in INR | T.P.INR | GBP
I | Loop Powered Sensor for Hazardous Area | Model No.
1 | Monitran Sensor-Intrinsically safe 4-20 mA velocity transducer ATEX & IECEx Group II approved with 5 meter Cable | MTN/2285IC | 1 | 16691.7273 | 16691.7273 | 129 | C5N-MTN2285IC-25-N | 43-010-1295040 | LOOP POWERED (4-20MA),MTN/2285IC-25,0-25,MM/SEC RMS,05 METER INTEGRAL CABLE ,1/4"-28 UNF X M6X1 MM STUD,ATEX,T6 -55 DEGC TO +65 DEGC,SPEC/QAP NO.- 1295040 (REV-0)
II | Accessories
2 | Mounting pad 30x30x15,MOC MS with SS insert | FM-MP-001 | 1 | 90 | 90 |  | C5N-FM-MP-001-N | 43-020-1147032 | FM-PAD30X30X15,MOUNTING PAD,MACHINING,SENSOR M6X1,10MM DEEP,MS,CAD PLATED,AS PER DRG,WITH SS INSERT,DRG.NO.- 1147032 (REV-0)
3 | Field Junction Box | By Customer | By Customer
4 | Tag Plates for Sensors,MOC: SS304 | TAGPLATE | 1 | 50 | 50 |  | FG Not available | 40-122-1330014 | -TAG PLATES,MOC-SS304,SPEC/QAP NO.- 1330014 (REV-0)
5 | Field cable from Junction box to PLC/DCS/Control Room/Any other system | By Customer | By Customer |  |  |  | (Tag detail available in the attached specifications)
III | Installation Supervision & Comissioning Charges |  | Extra at actuals
| Rs. 35000/Engineer/Day will be charged Extra at actuals |  | Extra at actuals
Lodging,Boarding,travel , air fare, local conveyance will be borne by customer
| TOTAL PRICE EX WORKS PUNE IN Rs. |  |  |  | 16831.7273
| PO Value in INR | 51500.49
| FM Net in INR | 16831.7273
| VA in INR | 34668.7627
| VA in % | 67.3173

## T&C
FORBES MARSHALL
TERMS & CONDITIONS - RUPEE PORTION
Order to be placed at | Forbes Marshall Pvt. Ltd. Plot No. B-85, Phase – II, Chakan Industrial Area Village-Savardari-Chakan, Taluka-Khed Pune District – 410 501 State : Maharashtra
Price | Ex.Works - Pune.
P&F | 3% extra
Taxes & Duties | 18% extra against GST
Payment terms | 10% payment Advance & 90% against proforma invoice.
Delivery | To be discussed during commercial stage
Freight | Extra at actual.
Insurance | To be arranged by you, for which Dispatch particulars will be cabled/telexed to you immediately after Dispatch.
Dispatch | Unless instructed otherwise, materials will be dispatched by our Transporter or Courier. Please let us have relevant Road permit, if reqd.
Warranty | 12 months from the date of commissioning or 18 months from the date of supply whichever is earlier.
Pre-dispatch inspection | At our Pune Works (if required). Inspection charges, if any, will be charged extra to your account.
Validity | This offer is valid up to 30 Days
Terms and Conditions | This offer/sale by us shall be governed by our standard terms and condition of sale which is available on the following link:
https://www.forbesmarshall.com/Terms-of-Sale
Note: we reserve the right to amend the standard terms and conditions.
Vrushali Suryavanshi
SHINKAWA DIVISION
FORBES MARSHALL PVT. LTD.