## BOM
FORBES MARSHALL |  | COSTING DATE : 23.07.2025
Customer | KPCL | REV : 0
Project
Quote Ref : | C5N-OEM-2K25-VS-296
PO No | 2242603052
PO DATE | 2025-07-23
DA | NA
OFFER FOR M Spare
FMPL India scope of supply
Sr. No. | Description | Machine: | M.spare | UP in INR | T.P.INR | USD
I | Loop Powered Sensor for Hazardous Area | Model No.
1 | 2 wire loop powered ATEX sensors, Ex ia IIC T4 Ga certified | PC420VR-10-IS | 1 | 27621.99 | 27621.99 | 289 | C5N-PC420VR-10-IS-N | 43-010-1330066 | LOOP POWERED (4-20MA) SENSOR,WILCOXON,PC420VR-10-IS,4-20 = 0-25.4 MM/SEC RMS,2 PIN CONNECTOR,1/4"-28 UNF X M6X1 MM STUD,ATEX,SPEC/QAP NO.- 1330066 (REV-0)
II | Accessories
1 | Extension Cables with SS Conduit 10 Meter | FM-EXTC-SS-010 | 1 | 1600 | 1600 |  | C5N-FM-EXTC-010-CONDUIT-N | 40-045-1159024 | 10MTR CABLE HARNESSING,MODEL/SUPP.NO.-FM-EXTC-SS-010,0.5 SQ.MM,1 PAIR,ABC,MULTISTRAND ,EXT PVC FRLS,WITH SS CONDUIT ID-8 MM,OD-10MM AND 2 PIN AMPHENOL FEMALE CONNECTOR WITH LUGS AT ANOTHER END OF CABLE
2 | Mounting Stud,MOC: SS304 (M8x1,10mm deep) | FM-MS-001 | 1 | 140 | 140 |  | C5N-FM-MS-001-N-4 | 43-031-1294639 | MOUNTING ADAPTER,FM ADAPTER,1/4"-28 UNF X M8X1 (10MM),SS304,10MM,DRG.NO.- 1294639 (REV-0)
3 | Field Junction Box | By Customer | By Customer
III | Installation Supervision & Comissioning Charges |  | Extra at actuals
| Rs. 35000/Engineer/Day will be charged Extra at actuals |  | Extra at actuals
Lodging,Boarding,travel , air fare, local conveyance will be borne by customer
| TOTAL PRICE EX WORKS PUNE IN Rs. |  |  |  | 29361.99
| PO Price in INR | 66000
| FM Net in INR | 29361.99
| VA in INR | 36638.01
| Va in % | 55.5121

## T&C
FORBES MARSHALL
TERMS & CONDITIONS - RUPEE PORTION
Order to be placed at | Forbes Marshall Pvt. Ltd. Plot No. B-85, Phase – II, Chakan Industrial Area Village-Savardari-Chakan, Taluka-Khed Pune District – 410 501 State : Maharashtra
Price | Ex.Works - Pune.
P&F | 3% extra
Taxes & Duties | 18% extra against GST
Payment terms | 10% payment Advance & 90% against proforma invoice.
Delivery | To be discussed during commercial stage
Freight | Extra at actual.
Insurance | To be arranged by you, for which Dispatch particulars will be cabled/telexed to you immediately after Dispatch.
Dispatch | Unless instructed otherwise, materials will be dispatched by our Transporter or Courier. Please let us have relevant Road permit, if reqd.
Warranty | 12 months from the date of commissioning or 18 months from the date of supply whichever is earlier.
Pre-dispatch inspection | At our Pune Works (if required). Inspection charges, if any, will be charged extra to your account.
Validity | This offer is valid up to 30 Days
Terms and Conditions | This offer/sale by us shall be governed by our standard terms and condition of sale which is available on the following link:
https://www.forbesmarshall.com/Terms-of-Sale
Note: we reserve the right to amend the standard terms and conditions.
Vrushali Suryavanshi
SHINKAWA DIVISION
FORBES MARSHALL PVT. LTD.