## Summary
Customer: | fgftrdt
Project: | nklkop
Reference: | gfftd
A. MAIN SCOPE OF SUPPLY
SCOPE OF SUPPLY BY FORBES MARSHALL PUNE
Sr no. | Accessories | Description | Code | Quantity | UP INR | TP INR | UP in YEN
1 | Sensor (Shinkawa) | CBT-420 Series Loop powered sensor with range 0-25 mm/sec Peak, output 4-20 mA for PLC/DCS connectivity, with 2 pin MS connector, MOC: SS316L, with grub screw 1/4' 28 UNF female | CBT-420-025-50-01 | 15 | 11022.67 | 165340.05 | 18100
2 | Extension Cable | FM Standard 10 meter Extension cables with Flexible SS conduit | FM-EXTC-SS-010 | 15 | 1599.72 | 23995.80
3 | Mounting Pad | FM std mounting pad 30x30x15, MOC: MS with SS insert (Standard) | FM-MP-001 | 15 | 90 | 1350.00
4 | Mounting Stud | Mounting Stud with MOC: SS304 (Standard), Thread details: m5x1.2, Depth: 32mm | FM-MS-001 | 15 | 140 | 2100.00
|  |  | Total Package Price in Ex works INR | 602455.78
5 | Junction Box | Junction Box: frt, 3 in 1 out Terminals (incl. 20% spares): (9 + 1.8) = 11 Glands: 3 In + 1 Out = 4 Gland MOC: sdew JB Quantity: 5 |  | 5
|  |  | Junction box Price | Please Contact Division