## BOM
Customer : | M/S.TKIL
End User : | Sedam Cement Karnataka
Quote Ref : | C5N-OEM-2K25-VS-APR-228
A. MAIN SCOPE OF SUPPLY
SCOPE OF SUPPLY BY FORBES MARSHALL PUNE
Sr. No. | Description | Model | Total Qty | UNIT PRICE INR | Total Price in INR | Unit price in USD
I | Vibration Sensor | Machine: BFP(Pump+Motor) Qty: | 4
1 | FM-LPS-420, 2 Wire Loop Power Sensor, Output: 4-20mA, DCS/PLC connectivity,Measurement Range :‐ 0‐20 mm/sec RMS, 2 pin MIL connector | FM-LPS-420-20B-R-W | 32 | 8526.073 | 272834.3368 | 89.6
II | Accessories
1 | Extension Cables with SS Conduit 10 Meter | FM-EXTC-SS-010 | 32 | 1400 | 44800
2 | Mounting stud, MOC: SS304 (M6 X 1.25 (Pitch) x 10mm Deep) | FM-MS-001 | 32 | 120 | 3840
3 | Tag Plate, MOC: SS304 | Tagplate | 32 | 50 | 1600
4 | Field Junction Box | By Customer | By Customer
5 | Cables from FJB to control room/PLC/DCS/any Other system | By Customer | By Customer
IV | Services |  | Extra at Actuals
Rs. 35000/Engineer/Day will be charged Extra at actuals
Lodging,Boarding,travel , air fare, local conveyance will be borne by customer
TOTAL PRICE EX WORKS PUNE INR |  |  |  |  | 323074.3368

## T&C
FORBES MARSHALL
TERMS & CONDITIONS - RUPEE PORTION
Order to be placed at | Forbes Marshall Pvt. Ltd. Plot No. B-85, Phase – II, Chakan Industrial Area Village-Savardari-Chakan, Taluka-Khed Pune District – 410 501 State : Maharashtra
Price | Ex.Works - Pune.
P&F | 3% extra
Taxes & Duties | 18% extra against GST
Payment terms | 10% payment Advance & 90% against proforma invoice.
Delivery | To be discussed during commercial stage
Freight | Extra at actual.
Insurance | To be arranged by you, for which Dispatch particulars will be cabled/telexed to you immediately after Dispatch.
Dispatch | Unless instructed otherwise, materials will be dispatched by our Transporter or Courier. Please let us have relevant Road permit, if reqd.
Warranty | 12 months from the date of commissioning or 18 months from the date of supply whichever is earlier.
Pre-dispatch inspection | At our Pune Works (if required). Inspection charges, if any, will be charged extra to your account.
Validity | This offer is valid up to 30 Days
Terms and Conditions | This offer/sale by us shall be governed by our standard terms and condition of sale which is available on the following link:
https://www.forbesmarshall.com/Terms-of-Sale
Note: we reserve the right to amend the standard terms and conditions.
Vrushali Suryavanshi
SHINKAWA DIVISION
FORBES MARSHALL PVT. LTD.