## BOM
Customer : | M/s.TKIL LTD | OFFER DATE :09.06.2025
End User : | M/S Tororo Cement Ltd | REV : 0
Quote Ref : | C5N-OEM-2K25-VS-JUNE-268
A. MAIN SCOPE OF SUPPLY
SCOPE OF SUPPLY BY FORBES MARSHALL PUNE
Sr. No. | Description | Model | Total qty | UNIT PRICE INR | Total Price in INR | LP in USD
I | Vibration Sensor | Machine: BFP Machine Qty: | 2
1 | FM-LPS-420, 2 Wire Loop Power Sensor, Output: 4-20mA, DCS/PLC connectivity,Measurement Range :‐ 0‐20 mm/sec RMS, 2 pin MIL connector | FM-LPS-420-20B-R-W | 16 | 9453.7005 | 151259.208 | 100
II | Accessories
1 | Extension Cables with SS Conduit 10 Meter | FM-EXTC-SS-010 | 16 | 1600 | 25600 |  | 40-045-1159026 | INSTRUMENT CABLE,MODEL/SUPP.NO.-FM-EXTC-SS-015,0.5 SQ.MM,1 PAIR,ABC,MULTISTRAND ,EXT PVC FRLS,WITH SS CONDUIT ID-8 MM,OD-10MM AND 2 PIN AMPHENOL CONNECTOR 97-3106F-10SL-4S-LG,FEMALE/SOCKET
2 | Mounting stud, MOC: SS316 (Thread Size:M8 X 1.25 thread x 15mm Deep) | FM-MS-001 | 16 | 250 | 4000 |  | 43-031-1400130
3 | Mounting Pad 30x30x15,MOC:SS316 | FM-MP-001 | 16 | 500 | 8000 |  | 43-020-1393827 | FM-PAD30X30X15,MOUNTING PAD,MACHINING,SENSOR M8X1.5,10MM DEEP,SS316,CAD PLATED,AS PER DRG,WITH SS INSERT,DRG.NO.- 1393827 (REV-0) | 43-020-1178082 | FM-PAD30X30X15,MOUNTING PAD,MACHINING,SS316L,AS PER DRG,DRG.NO.- 1178082 (REV-1)
4 | Tag Plate MOC:SS304 | TAGPLATE | 16 | 50 | 800 |  | 40-122-1371067 | TAG PLATES,AS PER SPECIFICATION SHEET,MOC-SS316L,SPEC/QAP NO.- 1371067 (REV-0)
5 | Field Junction Box | By Customer | By Customer
6 | Cables
| Field Cables From JB to DCS/PLC/Any other system | By Customer
7 | Service |  | Extra at actuals
INR 35,000/engg/day shall be charged extra lodging,boarding travel,air fare etc shall not be by FMPL
TOTAL PRICE EX WORKS PUNE INR |  |  | As per ARC |  | 189659.208
Note : additional cost needs to be considered for SS316 mounting pads and studs and tag plate.
Note: Offered Solution is suitable for the safe area.

## T&C
FORBES MARSHALL
TERMS & CONDITIONS - RUPEE PORTION
Order to be placed at | Forbes Marshall Pvt. Ltd. Plot No. B-85, Phase – II, Chakan Industrial Area Village-Savardari-Chakan, Taluka-Khed Pune District – 410 501 State : Maharashtra
Price | Ex.Works - Pune.
P&F | 3% extra
Taxes & Duties | 18% extra against GST
Payment terms | 10% payment Advance & 90% against proforma invoice.
Delivery | To be discussed during commercial stage
Freight | Extra at actual.
Insurance | To be arranged by you, for which Dispatch particulars will be cabled/telexed to you immediately after Dispatch.
Dispatch | Unless instructed otherwise, materials will be dispatched by our Transporter or Courier. Please let us have relevant Road permit, if reqd.
Warranty | 12 months from the date of commissioning or 18 months from the date of supply whichever is earlier.
Pre-dispatch inspection | At our Pune Works (if required). Inspection charges, if any, will be charged extra to your account.
Validity | This offer is valid up to 30 Days
Terms and Conditions | This offer/sale by us shall be governed by our standard terms and condition of sale which is available on the following link:
https://www.forbesmarshall.com/Terms-of-Sale
Note: we reserve the right to amend the standard terms and conditions.
Vrushali Suryavanshi
SHINKAWA DIVISION
FORBES MARSHALL PVT. LTD.