## BOM
|  |  |  | JPY to INR | 0.59
|  |  |  | TAXES | 1.1073
Customer : | M/s. ISGEC HEAVY ENGINEERING LTD
End User : | M/s. GSFC
Project : | 600 TPD SULPHURIC ACID PLANT
Quote Ref : | C5N-OEM-2K24-VS-OCT-084
A. MAIN SCOPE OF SUPPLY
SCOPE OF SUPPLY BY FORBES MARSHALL PUNE
Sr. No. | Description | Model | Total Qty | UNIT PRICE INR | Total Price in INR | UP in JPY
I | Vibration Sensor |  |  | 10352.7875 |  |  |  | 294000
1 | 2 Wire Loop Power Sensor, Output: 4-20mA, DCS/PLC connectivity Measurement Range :- 0-25mm/sec RMS 2 pin MIL connector, 1/4"-28UNF female threading MOC-SS304 with Grub screw | CBT-420-025-50-01 | 14 | 10352.7875 | 144939.025 | 17000 |  | 21000
II | Accessories
1 | Extension Cable, 15-meter SS conduit | FM-EXTC-SS-015 | 14 | 1800 | 25200 |  | 1396 | 404 | 897.7778 | 12568.8889
2 | Mounting pad, MOC: SS 304, with M6 x 1mm drill of size 30X30X15mm | FM-MP-001 | 14 | 450 | 6300 |  | 100 | 350 | 777.7778 | 11200
3 | Mounting adaptor M8 x 1.25 mm, Length 10 mm | FM-MS-001 | 14 | 120 | 1680
4 | Field Junction Box (For cable Termination) | By Customer
8 | Cables from JB to DCS/PLC | By Customer
9 | Service |  | Extra at actuals
INR 35,000/engg/day shall be charged extra lodging,boarding travel,air fare etc shall not be by FMPL
TOTAL PRICE EX WORKS PUNE INR |  |  | 318200 |  | 178119.025
|  |  |  | 0 | 0
|  |  | 318200 | 318200
|  |  | 178119.025 | 178119.025
|  |  | 3000 | 2000
|  |  | 137080.975 | 138080.975 |  | 22728.5714
|  |  | 43.0801 | 43.3944
294000

## T&C
FORBES MARSHALL
TERMS & CONDITIONS - RUPEE PORTION
Order to be placed at | Forbes Marshall Pvt. Ltd. Plot No. B-85, Phase – II, Chakan Industrial Area Village-Savardari-Chakan, Taluka-Khed Pune District – 410 501 State : Maharashtra
Price | Ex.Works - Pune.
P&F | 3% extra
Taxes & Duties | 18% extra against GST
Payment terms | 10% payment Advance & 90% against proforma invoice.
Delivery | To be discussed during commercial stage
Freight | Extra at actual.
Insurance | To be arranged by you, for which Dispatch particulars will be cabled/telexed to you immediately after Dispatch.
Dispatch | Unless instructed otherwise, materials will be dispatched by our Transporter or Courier. Please let us have relevant Road permit, if reqd.
Warranty | 12 months from the date of commissioning or 18 months from the date of supply whichever is earlier.
Pre-dispatch inspection | At our Pune Works (if required). Inspection charges, if any, will be charged extra to your account.
Validity | This offer is valid up to 30 Days
Terms and Conditions | This offer/sale by us shall be governed by our standard terms and condition of sale which is available on the following link:
https://www.forbesmarshall.com/Terms-of-Sale
Note: we reserve the right to amend the standard terms and conditions.
Vrushali Suryavanshi
SHINKAWA DIVISION
FORBES MARSHALL PVT. LTD.